NEBRASKA STATE FIRE MARSHAL

OFFICIAL INTERPRETATION

| Interpretation Number: 07-03 |  | Comments: |
| --- | --- | --- |
| Date: 09-07 |  |  |
| Pamphlet Number: NFPA 101, 2000 ed. |  |  |
| Section(s): 24.1.1.1, A26.1.1.1 |  |  |
| Question: How are Bed and Breakfast occupancies classified in the Life Safety Code? |  |  |
| Response: Classification and fire code requirements for a home or structure used as a bed and breakfast occupancy are based on the maximum number of renters using the facility. A bed and breakfast occupied by four or fewer renters of any age is classified as a one-and two-family dwelling. A bed and breakfast occupied by more than four renters of any age is classified as a Lodging and Rooming House. This arrangement will typically allow the use of up to two rooms of a bed and breakfast occupancy to be rented without triggering the more extensive requirements of a Lodging and Rooming House. |  |  |
| Signature: |  | Date: 09-12-007 |
| Title: John E. Falgione, State of Nebraska Fire Marshal |  |  |